# Equipment Maintenance Log

## Clinical Device Certification & Maintenance Tracking System

Product: Ambulatory Surgery Center Compliance Manual — Tier 1
Version: 1.0
Applicable Standards: CMS §416.44 (Environment), §416.42 (Surgical Services), AAAHC Facility & Equipment Standards, NFPA 99, AAMI Standards

## How to Use This Document

This log provides standardized templates for tracking every clinical device in your ASC. CMS requires that all equipment is maintained per manufacturer recommendations and that maintenance records are readily available during survey.

### Instructions

- Complete the Master Equipment Inventory (Section 1) for every device in your facility

- Use the Maintenance Event Log (Section 2) each time maintenance is performed

- Track certifications in the Certification Tracking section (Section 3)

- Review the Vendor Directory (Section 4) to ensure contacts are current

- Conduct monthly reviews using the Monthly Compliance Check (Section 5)

Small Team Tip: Designate one person as “equipment coordinator.” Even if they also do clinical work, having a single point of accountability prevents items from falling through the cracks. Schedule 30 minutes on the first Monday of each month for equipment review.

## Section 1: Master Equipment Inventory

### How to Complete

- Assign each device a unique Asset ID (e.g., OR1-ANES-001 = OR Room 1, Anesthesia, Unit 001)

- Enter ALL clinical devices, including crash cart contents, sterilization equipment, and monitoring devices

- Update this inventory whenever equipment is added, removed, or relocated

### Operating Room Equipment

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OR1-ANES-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-ANES-002 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-MONIT-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-SURG-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-LIGHT-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-TABLE-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR1-ESU-001 |  |  |  |  | OR 1 |  |  |  | ☐ Active ☐ Retired |
| OR2-ANES-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-ANES-002 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-MONIT-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-SURG-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-LIGHT-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-TABLE-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |
| OR2-ESU-001 |  |  |  |  | OR 2 |  |  |  | ☐ Active ☐ Retired |

### Sterilization Equipment

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| STER-AUTO-001 | Autoclave / Steam Sterilizer |  |  |  | Sterile Processing |  |  |  | ☐ Active ☐ Retired |
| STER-AUTO-002 |  |  |  |  | Sterile Processing |  |  |  | ☐ Active ☐ Retired |
| STER-WASH-001 | Instrument Washer |  |  |  | Sterile Processing |  |  |  | ☐ Active ☐ Retired |
| STER-DRY-001 | Drying Cabinet |  |  |  | Sterile Processing |  |  |  | ☐ Active ☐ Retired |
| STER-SEAL-001 | Pouch Sealer |  |  |  | Sterile Processing |  |  |  | ☐ Active ☐ Retired |

### Recovery / PACU Equipment

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PACU-MONIT-001 | Patient Monitor |  |  |  | PACU Bay 1 |  |  |  | ☐ Active ☐ Retired |
| PACU-MONIT-002 | Patient Monitor |  |  |  | PACU Bay 2 |  |  |  | ☐ Active ☐ Retired |
| PACU-PUMP-001 | IV Pump |  |  |  | PACU |  |  |  | ☐ Active ☐ Retired |
| PACU-PUMP-002 | IV Pump |  |  |  | PACU |  |  |  | ☐ Active ☐ Retired |
| PACU-SUCT-001 | Suction Unit |  |  |  | PACU |  |  |  | ☐ Active ☐ Retired |
| PACU-O2-001 | Oxygen Delivery System |  |  |  | PACU |  |  |  | ☐ Active ☐ Retired |

### Emergency Equipment

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMRG-CART-001 | Crash Cart |  |  |  | Main Hallway |  |  |  | ☐ Active ☐ Retired |
| EMRG-DEFIB-001 | Defibrillator / AED |  |  |  | Crash Cart |  |  |  | ☐ Active ☐ Retired |
| EMRG-VENT-001 | Emergency Ventilator / Ambu Bag |  |  |  | Crash Cart |  |  |  | ☐ Active ☐ Retired |
| EMRG-SUCT-001 | Portable Suction |  |  |  | Crash Cart |  |  |  | ☐ Active ☐ Retired |
| EMRG-MH-001 | Malignant Hyperthermia Cart |  |  |  | OR Corridor |  |  |  | ☐ Active ☐ Retired |

### Facility / Environmental Equipment

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FAC-HVAC-001 | HVAC System |  |  |  | Mechanical Room |  |  |  | ☐ Active ☐ Retired |
| FAC-GAS-001 | Medical Gas System (O2) |  |  |  | Mechanical Room |  |  |  | ☐ Active ☐ Retired |
| FAC-GAS-002 | Medical Gas System (N2O) |  |  |  | Mechanical Room |  |  |  | ☐ Active ☐ Retired |
| FAC-VAC-001 | Medical Vacuum System |  |  |  | Mechanical Room |  |  |  | ☐ Active ☐ Retired |
| FAC-GEN-001 | Emergency Generator |  |  |  | Exterior |  |  |  | ☐ Active ☐ Retired |
| FAC-UPS-001 | UPS / Battery Backup |  |  |  | Server Room |  |  |  | ☐ Active ☐ Retired |

### Additional Equipment (Add rows as needed)

| Asset ID | Device Name | Manufacturer | Model Number | Serial Number | Location | Date Acquired | Expected Lifespan | Replacement Plan Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | ☐ Active ☐ Retired |
|  |  |  |  |  |  |  |  |  | ☐ Active ☐ Retired |
|  |  |  |  |  |  |  |  |  | ☐ Active ☐ Retired |
|  |  |  |  |  |  |  |  |  | ☐ Active ☐ Retired |
|  |  |  |  |  |  |  |  |  | ☐ Active ☐ Retired |

## Section 2: Maintenance Event Log

### Instructions

- Record EVERY maintenance event — preventive, corrective, and emergency repairs

- Attach or reference work orders, service reports, and invoices

- Keep completed logs for a minimum of 3 years (some states require longer)

### Preventive Maintenance (PM) Log

| Date | Asset ID | Device Name | PM Type | Performed By | Company / In-House | Work Order # | Findings / Actions Taken | Parts Replaced | Next PM Due | Compliance Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |
|  |  |  | ☐ Annual ☐ Semi-Annual ☐ Quarterly ☐ Monthly |  |  |  |  |  |  |  |

### Corrective Maintenance / Repair Log

| Date Reported | Asset ID | Device Name | Problem Description | Reported By | Date Repaired | Repaired By | Company | Work Order # | Root Cause | Actions Taken | Parts Used | Cost | Device Returned to Service Date | Verified By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  | $ |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | $ |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | $ |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | $ |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | $ |  |  |

### Equipment Recall / Safety Alert Log

| Date Received | Source (FDA/Manufacturer) | Alert/Recall # | Device Name | Asset ID(s) Affected | Risk Level | Action Required | Action Taken | Date Completed | Completed By | Documentation Filed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | ☐ Class I ☐ Class II ☐ Class III |  |  |  |  | ☐ Yes ☐ No |
|  |  |  |  |  | ☐ Class I ☐ Class II ☐ Class III |  |  |  |  | ☐ Yes ☐ No |
|  |  |  |  |  | ☐ Class I ☐ Class II ☐ Class III |  |  |  |  | ☐ Yes ☐ No |

## Section 3: Certification & Calibration Tracking

### Annual Certification Schedule

| Asset ID | Device Name | Certification Type | Certifying Body / Vendor | Last Certification Date | Certification Expiration | Next Certification Due | Cost | Status | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |
|  |  | ☐ Safety ☐ Calibration ☐ Performance ☐ Regulatory |  |  |  |  | $ | ☐ Current ☐ Expiring ☐ Expired |  |

### Certification Expiration Calendar (12-Month View)

| Month | Devices Due for Certification | Estimated Cost | Vendor to Contact | Status |
| --- | --- | --- | --- | --- |
| January |  | $ |  | ☐ Scheduled ☐ Complete |
| February |  | $ |  | ☐ Scheduled ☐ Complete |
| March |  | $ |  | ☐ Scheduled ☐ Complete |
| April |  | $ |  | ☐ Scheduled ☐ Complete |
| May |  | $ |  | ☐ Scheduled ☐ Complete |
| June |  | $ |  | ☐ Scheduled ☐ Complete |
| July |  | $ |  | ☐ Scheduled ☐ Complete |
| August |  | $ |  | ☐ Scheduled ☐ Complete |
| September |  | $ |  | ☐ Scheduled ☐ Complete |
| October |  | $ |  | ☐ Scheduled ☐ Complete |
| November |  | $ |  | ☐ Scheduled ☐ Complete |
| December |  | $ |  | ☐ Scheduled ☐ Complete |

### Sterilizer-Specific Tracking

| Asset ID | Sterilizer Type | Biological Indicator (BI) Test Frequency | Last BI Test Date | BI Result | Bowie-Dick Test (if applicable) | Last Calibration | Next Calibration Due | Maintenance Contract |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| STER-AUTO-001 | ☐ Steam ☐ ETO ☐ Other | ☐ Each load ☐ Daily ☐ Weekly |  | ☐ Pass ☐ Fail | ☐ N/A ☐ Pass ☐ Fail |  |  | ☐ Yes ☐ No |
| STER-AUTO-002 | ☐ Steam ☐ ETO ☐ Other | ☐ Each load ☐ Daily ☐ Weekly |  | ☐ Pass ☐ Fail | ☐ N/A ☐ Pass ☐ Fail |  |  | ☐ Yes ☐ No |

CMS Requirement: Sterilizer biological indicators must be run at least weekly (more often per manufacturer IFU). A failed BI requires immediate action: quarantine all items processed since the last successful BI, investigate root cause, and document corrective action. Surveyors WILL ask for BI records.

## Section 4: Vendor & Service Provider Directory

| Vendor Name | Primary Contact | Phone | Email | Services Provided | Devices Covered | Contract # | Contract Expiration | Response Time (SLA) | After-Hours Contact | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

### Service Contract Summary

| Vendor | Contract Type | Annual Cost | Includes PM? | Includes Parts? | Includes Emergency Service? | Renewal Date | Auto-Renew? | Cancellation Notice Required |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ☐ Full Service ☐ PM Only ☐ On-Call | $ | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  | ☐ Yes ☐ No | days |
|  | ☐ Full Service ☐ PM Only ☐ On-Call | $ | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  | ☐ Yes ☐ No | days |
|  | ☐ Full Service ☐ PM Only ☐ On-Call | $ | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  | ☐ Yes ☐ No | days |
|  | ☐ Full Service ☐ PM Only ☐ On-Call | $ | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  | ☐ Yes ☐ No | days |
|  | ☐ Full Service ☐ PM Only ☐ On-Call | $ | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  | ☐ Yes ☐ No | days |

## Section 5: Monthly Compliance Review Checklist

Complete this checklist on the first business day of each month.

### Monthly Review — Month: __________ Year: __________

| # | Review Item | Status | Notes / Action Required |
| --- | --- | --- | --- |
| 1 | All PM services completed per schedule this month | ☐ Yes ☐ No ☐ N/A |  |
| 2 | No equipment operating with overdue maintenance | ☐ Yes ☐ No |  |
| 3 | All certification/calibration records current | ☐ Yes ☐ No |  |
| 4 | All sterilizer BI tests documented with results | ☐ Yes ☐ No |  |
| 5 | No outstanding equipment recalls unaddressed | ☐ Yes ☐ No |  |
| 6 | Temperature logs current for all required equipment | ☐ Yes ☐ No |  |
| 7 | Crash cart checked and sealed (daily log current) | ☐ Yes ☐ No |  |
| 8 | Defibrillator tested per manufacturer schedule | ☐ Yes ☐ No |  |
| 9 | Emergency generator tested (weekly/monthly per code) | ☐ Yes ☐ No |  |
| 10 | All vendor service contracts current (not expired) | ☐ Yes ☐ No |  |
| 11 | FDA safety alerts reviewed (check FDA MedWatch) | ☐ Yes ☐ No |  |
| 12 | Equipment inventory updated (any additions/removals) | ☐ Yes ☐ No |  |
| 13 | Manufacturer IFU (Instructions for Use) on file for all devices | ☐ Yes ☐ No |  |
| 14 | Any equipment-related incident reports filed and reviewed | ☐ Yes ☐ No ☐ N/A |  |

Reviewed By: _________________________ Date: _______________

Issues Requiring Follow-Up:

| Issue | Priority | Assigned To | Due Date | Resolved Date |
| --- | --- | --- | --- | --- |
|  | ☐ Critical ☐ High ☐ Medium ☐ Low |  |  |  |
|  | ☐ Critical ☐ High ☐ Medium ☐ Low |  |  |  |
|  | ☐ Critical ☐ High ☐ Medium ☐ Low |  |  |  |

## Section 6: Equipment-Specific Maintenance Schedules

### Common ASC Equipment — Recommended Maintenance Frequency

This reference table lists typical maintenance intervals. Always defer to the manufacturer’s Instructions for Use (IFU) — CMS requires maintenance per manufacturer specifications.

| Equipment Category | Device Type | Typical PM Frequency | Calibration Frequency | Common Maintenance Tasks |
| --- | --- | --- | --- | --- |
| Anesthesia | Anesthesia Machine | Semi-annual + daily checks | Annual | Vaporizer calibration, circuit checks, leak testing, O2 sensor replacement |
| Anesthesia | Ventilator | Semi-annual | Annual | Flow sensor calibration, bellows inspection, alarm testing |
| Monitoring | Patient Monitor | Annual | Annual (per parameter) | SpO2 accuracy, NIBP calibration, ECG lead check, alarm testing |
| Monitoring | Capnography | Semi-annual | Annual | Sensor calibration, water trap, tubing integrity |
| Surgical | Electrosurgical Unit (ESU) | Annual | Annual | Power output calibration, ground fault testing, pad alarm testing |
| Surgical | Surgical Lights | Annual | N/A | Bulb replacement, intensity check, positioning mechanism, battery backup |
| Surgical | OR Table | Semi-annual | N/A | Hydraulic system, electrical safety, pad inspection, position lock testing |
| Sterilization | Steam Autoclave | Quarterly PM + daily/weekly BI | Annual calibration | Gasket replacement, drain cleaning, chamber inspection, BI testing |
| Sterilization | Ultrasonic Cleaner | Monthly | Semi-annual | Cavitation testing, temperature verification, drain cleaning |
| Emergency | Defibrillator/AED | Monthly self-test + annual PM | Annual | Battery check, pad expiration, capacitor test, ECG accuracy |
| Emergency | Crash Cart | Daily check when OR active | N/A | Medication expiration, supply inventory, equipment function |
| Facility | Emergency Generator | Weekly (unloaded) + annual (loaded) | Annual transfer switch test | Oil, coolant, battery, load bank testing, ATS testing |
| Facility | Medical Gas System | Annual | Annual | Pressure testing, alarm verification, zone valve testing |
| Facility | HVAC / Air Handling | Quarterly filter + annual full PM | Annual air exchange verification | Filter replacement, air exchange rate, pressure relationships |
| Pharmacy | Medication Refrigerator | Daily temp log + annual PM | Annual thermometer calibration | Temperature accuracy, alarm testing, door seal, defrost |

## Section 7: Compliance Quick-Reference

### What Surveyors Look For — Equipment

- Maintenance records match manufacturer IFU — If the manufacturer says annual PM, you must have annual PM documented

- No equipment in use past maintenance due date — If PM is overdue, the device should be taken out of service until serviced

- Biological indicator logs for sterilizers — Weekly minimum, with action documented for any failures

- Crash cart sealed and checked daily — Break-away seal intact, daily check log signed

- Temperature logs — Medication refrigerator, blanket warmer, autoclaves — daily when in use

- Emergency generator — Weekly test log, annual load test, automatic transfer switch test

- Medical gas inspection — Annual third-party inspection report on file

- Electrical safety — Biomedical engineering inspection stickers current on all clinical devices

- Manufacturer IFU on file — For every reprocessed instrument and device

- Equipment removed from service is clearly labeled — “OUT OF SERVICE — DO NOT USE” tags

### Common Deficiencies to Avoid

| Deficiency | How to Prevent |
| --- | --- |
| Overdue PM on clinical devices | Set calendar alerts 30 days before PM due dates |
| Missing sterilizer BI documentation | Use standardized log; review weekly |
| Expired defibrillator pads | Add pad expiration to monthly check; stock spares |
| Medication refrigerator temperature gaps | Use continuous monitoring with alarm; backup thermometer |
| No manufacturer IFU on file | Request from manufacturer for every device; file centrally |
| Generator test log gaps | Assign specific staff member; set recurring calendar event |
| Crash cart seal broken without documentation | Policy: every seal break = documented check + reseal |
| Equipment in use without current calibration sticker | Biomedical engineering check stickers visible on each device |

## Document Version Control

| Version | Date | Author | Changes |
| --- | --- | --- | --- |
| 1.0 | Initial Release | ASC Compliance Team | Original equipment maintenance system |

This document is part of the ASC Compliance Manual — Tier 1: Essential Compliance Package ($97). For the complete system including staff training matrices, policy templates, and quarterly update frameworks, upgrade to Tier 2: Complete Certification System ($197).