# Survey Readiness Checklist

## Mock Survey & Inspector Walkthrough Simulation

Product: Ambulatory Surgery Center Compliance Manual — Tier 1
Version: 1.0
Applicable Standards: CMS Conditions for Coverage (42 CFR Part 416), AAAHC Standards, State Licensure Requirements

## Purpose

This document simulates an official accreditation survey. Use it to conduct internal mock surveys that replicate the methodology, sequencing, and scrutiny of CMS and AAAHC surveyors. Identify deficiencies before the real survey team does.

### How Real Surveys Work

| Survey Element | CMS Survey | AAAHC Survey |
| --- | --- | --- |
| Notice | Unannounced (typically) | Scheduled (60–90 day window) |
| Duration | 1–2 days | 1–2 days |
| Team Size | 1–3 surveyors | 1–2 surveyors (peer-based) |
| Method | Tracer methodology (follow the patient) | Standards-based with tracer elements |
| Focus Areas | Patient safety, infection control, surgical services, environment | Quality, governance, clinical records, patient rights |
| Outcome | Compliance / Deficiency citations | Accreditation / Recommendations |

### Mock Survey Instructions

- Schedule a full day — block OR cases if possible

- Assign a “surveyor” role — ideally someone NOT involved in daily operations (consultant, colleague from another facility, or your most detail-oriented staff member)

- Follow this checklist sequentially — it mirrors the actual survey flow

- Document every finding — use the scoring system below

- Photograph deficiencies — visual evidence drives accountability

- Complete the Summary Report at the end (Section 10)

### Scoring System

| Score | Meaning | Action Required |
| --- | --- | --- |
| ✅ Compliant | Meets all requirements | Document as compliant; maintain |
| ⚠️ Partial | Minor gap; easily correctable | Corrective action within 30 days |
| ❌ Non-Compliant | Significant gap; would be cited | Immediate corrective action required |
| 🔴 Immediate Jeopardy | Patient safety risk | Stop operations if necessary; correct immediately |

## Section 1: Pre-Survey Documentation Review

Surveyors typically request documents before or at the start of the walkthrough. Have these ready in an organized binder or digital system.

### 1.1 Administrative Documents

| # | Document | CMS Reference | Available? | Current? | Score | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | State License (current, posted) | State Requirements | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 2 | CMS Certification / Medicare Provider Agreement | §416.1 | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 3 | CLIA Certificate (if lab services performed) | CLIA | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 4 | DEA Registration (current, posted) | DEA | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 5 | Organizational Chart | §416.41 | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 6 | Governing Body Bylaws | §416.41 | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 7 | Governing Body Meeting Minutes (last 12 months) | §416.41 | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 8 | Transfer Agreement (or physician privilege documentation) | §416.41(b) | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 9 | Disclosure of Ownership | §416.41 | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 10 | Professional Liability Insurance (facility) | General | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |

### 1.2 Policy & Procedure Manuals

| # | Policy Area | CMS Reference | On File? | Current (reviewed within 12 months)? | Staff Aware? | Score | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Patient Rights | §416.50 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 2 | Infection Control | §416.51 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 3 | Medication Management | §416.48 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 4 | Surgical Services | §416.42 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 5 | Anesthesia Services | §416.42(b) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 6 | Emergency Preparedness | §416.54 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 7 | Quality Assessment (QAPI) | §416.43 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 8 | Medical Records | §416.47 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 9 | Credentialing & Privileging | §416.45 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 10 | Environment of Care / Safety | §416.44 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 11 | HIPAA Privacy & Security | HIPAA | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 12 | Grievance / Complaint Process | §416.50 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 13 | Informed Consent | §416.50 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 14 | Advance Directives | §416.50 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |
| 15 | Discharge Planning | §416.52 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No |  |  |

### 1.3 Credentialing Files (Review 100% of provider files)

| Provider Name | License Current? | DEA Current? | Board Cert Verified? | Malpractice Current? | NPDB Query (within 2 yrs)? | Privilege Delineation on File? | Peer References? | Application Complete? | Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |
|  | ☐ Y ☐ N | ☐ Y ☐ N ☐ N/A | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N | ☐ Y ☐ N |  |

## Section 2: Facility Entrance & Reception Area

Begin the walkthrough as a surveyor would — at the front door.

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Facility signage visible and accurate | State | ☐ Yes ☐ No |  |  |
| 2 | Patient Rights notice posted in visible location | §416.50 | ☐ Yes ☐ No |  |  |
| 3 | Non-discrimination notice posted | §416.50 | ☐ Yes ☐ No |  |  |
| 4 | Grievance procedure notice posted or available | §416.50 | ☐ Yes ☐ No |  |  |
| 5 | Advance directive information available | §416.50 | ☐ Yes ☐ No |  |  |
| 6 | State license posted and current | State | ☐ Yes ☐ No |  |  |
| 7 | ADA accessibility — entrance, restrooms, common areas | ADA | ☐ Yes ☐ No |  |  |
| 8 | Reception area clean and orderly | §416.44 | ☐ Yes ☐ No |  |  |
| 9 | Emergency exits clearly marked from reception | NFPA 101 | ☐ Yes ☐ No |  |  |
| 10 | Fire extinguisher visible, inspected (current tag) | NFPA 101 | ☐ Yes ☐ No |  |  |
| 11 | HIPAA privacy — patient conversations not overheard | HIPAA | ☐ Yes ☐ No |  |  |
| 12 | Sign-in process protects patient identity | HIPAA | ☐ Yes ☐ No |  |  |

## Section 3: Pre-Operative / Admitting Area

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Pre-op area clean with appropriate infection control signage | §416.51 | ☐ Yes ☐ No |  |  |
| 2 | Hand hygiene supplies at point of care (soap, sanitizer) | §416.51 | ☐ Yes ☐ No |  |  |
| 3 | PPE readily available (gloves, masks, gowns) | §416.51 | ☐ Yes ☐ No |  |  |
| 4 | Pre-operative assessment documentation complete | §416.42 | ☐ Yes ☐ No |  |  |
| 5 | Informed consent signed, specific to procedure and anesthesia | §416.50 | ☐ Yes ☐ No |  |  |
| 6 | H&P on chart (within 30 days; update within 24 hours of procedure) | §416.42 | ☐ Yes ☐ No |  |  |
| 7 | Patient identity verified (two identifiers) | §416.42 | ☐ Yes ☐ No |  |  |
| 8 | Surgical site marked (when applicable per policy) | §416.42 | ☐ Yes ☐ No |  |  |
| 9 | Allergies documented and visible | §416.42 | ☐ Yes ☐ No |  |  |
| 10 | NPO status verified and documented | §416.42 | ☐ Yes ☐ No |  |  |
| 11 | IV access and fluids per order | §416.42 | ☐ Yes ☐ No |  |  |
| 12 | Patient privacy maintained (curtains, doors) | §416.50 | ☐ Yes ☐ No |  |  |
| 13 | Call light / nurse call system functional | §416.44 | ☐ Yes ☐ No |  |  |
| 14 | Clean and soiled linen separation | §416.51 | ☐ Yes ☐ No |  |  |
| 15 | Sharps containers available, not overfull | OSHA / §416.51 | ☐ Yes ☐ No |  |  |

## Section 4: Operating Room(s)

Inspect each OR separately. Duplicate this section for multiple ORs.

### OR #: _______

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| Environment |  |  |  |  |  |
| 1 | OR clean (floors, walls, ceiling, lights, vents) | §416.44 | ☐ Yes ☐ No |  |  |
| 2 | Temperature and humidity within range and logged | §416.44 | ☐ Yes ☐ No |  |  |
| 3 | Positive air pressure maintained (or per design) | §416.44 | ☐ Yes ☐ No |  |  |
| 4 | Air exchange rate meets minimum (15 ACH recommended) | §416.44 | ☐ Yes ☐ No |  |  |
| 5 | No visible damage to walls, floors, or ceiling tiles | §416.44 | ☐ Yes ☐ No |  |  |
| 6 | All surfaces cleanable (no porous materials exposed) | §416.51 | ☐ Yes ☐ No |  |  |
| Equipment |  |  |  |  |  |
| 7 | Anesthesia machine — current PM sticker, daily checkout completed | §416.42(b) | ☐ Yes ☐ No |  |  |
| 8 | Patient monitor — functional, alarms set | §416.42 | ☐ Yes ☐ No |  |  |
| 9 | Electrosurgical unit — current calibration, grounding pad available | §416.42 | ☐ Yes ☐ No |  |  |
| 10 | Surgical lights — functional, backup available | §416.44 | ☐ Yes ☐ No |  |  |
| 11 | OR table — functional, safety straps available | §416.44 | ☐ Yes ☐ No |  |  |
| 12 | Suction — functional, backup available | §416.42 | ☐ Yes ☐ No |  |  |
| 13 | Emergency power — outlets marked, tested | §416.44 | ☐ Yes ☐ No |  |  |
| Infection Control |  |  |  |  |  |
| 14 | Surgical hand scrub supplies adequate | §416.51 | ☐ Yes ☐ No |  |  |
| 15 | Sterile supply storage appropriate (off floor, covered, in date) | §416.51 | ☐ Yes ☐ No |  |  |
| 16 | Sterilization indicators visible on sterile packs | §416.51 | ☐ Yes ☐ No |  |  |
| 17 | No opened/undated sterile supplies | §416.51 | ☐ Yes ☐ No |  |  |
| 18 | Trash and biohazard waste properly segregated | OSHA / §416.51 | ☐ Yes ☐ No |  |  |
| 19 | Traffic patterns appropriate (clean to dirty flow) | §416.51 | ☐ Yes ☐ No |  |  |
| Safety |  |  |  |  |  |
| 20 | Fire extinguisher accessible and current inspection tag | NFPA 101 | ☐ Yes ☐ No |  |  |
| 21 | Emergency exit route posted | NFPA 101 | ☐ Yes ☐ No |  |  |
| 22 | Laser safety precautions in place (if applicable) | ANSI / OSHA | ☐ Yes ☐ No ☐ N/A |  |  |
| 23 | Electrical panel access clear (36-inch clearance) | NFPA 70 | ☐ Yes ☐ No ☐ N/A |  |  |
| 24 | No prohibited items (food, drinks, personal items) | §416.51 | ☐ Yes ☐ No |  |  |
| Surgical Process (observe or verify via records) |  |  |  |  |  |
| 25 | Time-out performed before incision (per Universal Protocol) | §416.42 | ☐ Yes ☐ No |  |  |
| 26 | Surgical count performed and documented | §416.42 | ☐ Yes ☐ No |  |  |
| 27 | Specimen handling per policy | §416.42 | ☐ Yes ☐ No |  |  |
| 28 | Operative report dictated/completed promptly | §416.47 | ☐ Yes ☐ No |  |  |

## Section 5: Sterile Processing / Decontamination Area

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Physical separation between dirty and clean areas | §416.51 | ☐ Yes ☐ No |  |  |
| 2 | One-way workflow (dirty → clean → sterile) maintained | §416.51 | ☐ Yes ☐ No |  |  |
| 3 | Adequate ventilation (negative pressure in decontam, positive in clean) | §416.44 | ☐ Yes ☐ No |  |  |
| 4 | PPE available and used in decontamination area | OSHA / §416.51 | ☐ Yes ☐ No |  |  |
| 5 | Enzymatic cleaner per manufacturer IFU | §416.51 | ☐ Yes ☐ No |  |  |
| 6 | Ultrasonic cleaner tested (cavitation test current) | §416.51 | ☐ Yes ☐ No |  |  |
| 7 | Instrument IFU (Instructions for Use) on file for all reprocessed items | §416.51 | ☐ Yes ☐ No |  |  |
| 8 | Sterilizer PM current | §416.44 | ☐ Yes ☐ No |  |  |
| 9 | Biological indicator (BI) log current — results documented | §416.51 | ☐ Yes ☐ No |  |  |
| 10 | Last BI failure — documented corrective action taken | §416.51 | ☐ Yes ☐ No ☐ N/A |  |  |
| 11 | Chemical indicators used inside and outside packs | §416.51 | ☐ Yes ☐ No |  |  |
| 12 | Sterilization load records maintained | §416.51 | ☐ Yes ☐ No |  |  |
| 13 | Sterile storage appropriate (covered, off floor, climate-controlled) | §416.51 | ☐ Yes ☐ No |  |  |
| 14 | No expired sterile supplies in storage | §416.51 | ☐ Yes ☐ No |  |  |
| 15 | Event-related sterility per policy (package integrity check before use) | §416.51 | ☐ Yes ☐ No |  |  |
| 16 | Staff competency documentation for sterile processing personnel | §416.46 | ☐ Yes ☐ No |  |  |
| 17 | Single-use devices NOT being reprocessed (unless per FDA-cleared reprocessor) | §416.51 | ☐ Yes ☐ No |  |  |
| 18 | High-level disinfection log current (for semi-critical items) | §416.51 | ☐ Yes ☐ No |  |  |

Surveyor Red Flag: Infection control in sterile processing is the #1 area where ASCs receive Immediate Jeopardy citations. A single observation of break in sterile technique can trigger an IJ finding.

## Section 6: PACU / Recovery Area

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Adequate nurse staffing for patient volume | §416.46 | ☐ Yes ☐ No |  |  |
| 2 | Continuous monitoring capability (SpO2, ECG, BP) | §416.42(b) | ☐ Yes ☐ No |  |  |
| 3 | Emergency equipment immediately accessible (O2, suction, Ambu bag) | §416.42 | ☐ Yes ☐ No |  |  |
| 4 | Crash cart present, sealed, daily check log current | §416.44 | ☐ Yes ☐ No |  |  |
| 5 | Defibrillator present and functional (test log current) | §416.44 | ☐ Yes ☐ No |  |  |
| 6 | Malignant hyperthermia supplies accessible (Dantrolene, ice, etc.) | §416.42(b) | ☐ Yes ☐ No |  |  |
| 7 | Post-anesthesia assessment documented (Aldrete or equivalent scoring) | §416.42(b) | ☐ Yes ☐ No |  |  |
| 8 | Discharge criteria policy in place and followed | §416.52 | ☐ Yes ☐ No |  |  |
| 9 | Physician discharge order documented | §416.52 | ☐ Yes ☐ No |  |  |
| 10 | Discharge instructions given and documented (patient/responsible adult) | §416.52 | ☐ Yes ☐ No |  |  |
| 11 | Responsible adult present at discharge (when required) | §416.52 | ☐ Yes ☐ No |  |  |
| 12 | Post-op follow-up instructions documented | §416.52 | ☐ Yes ☐ No |  |  |
| 13 | Pain management documented | §416.42 | ☐ Yes ☐ No |  |  |
| 14 | PONV (post-op nausea/vomiting) management documented | §416.42 | ☐ Yes ☐ No |  |  |
| 15 | Privacy maintained between patient bays | §416.50 | ☐ Yes ☐ No |  |  |
| 16 | Hand hygiene supplies at each bay | §416.51 | ☐ Yes ☐ No |  |  |

## Section 7: Medication Storage Areas

Inspect ALL areas where medications are stored — OR, PACU, med room, anesthesia carts, crash carts.

| # | Inspection Point | CMS Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | All medications within expiration date | §416.48 | ☐ Yes ☐ No |  |  |
| 2 | Medications stored per manufacturer requirements | §416.48 | ☐ Yes ☐ No |  |  |
| 3 | Refrigerated medications: temp log daily, range 36–46°F (2–8°C) | §416.48 | ☐ Yes ☐ No |  |  |
| 4 | Controlled substances double-locked | §416.48 / DEA | ☐ Yes ☐ No |  |  |
| 5 | Controlled substance count log current and accurate | §416.48 / DEA | ☐ Yes ☐ No |  |  |
| 6 | Controlled substance discrepancy policy in place | §416.48 / DEA | ☐ Yes ☐ No |  |  |
| 7 | Multi-dose vials labeled with date opened and expiration (28 days) | §416.48 / §416.51 | ☐ Yes ☐ No |  |  |
| 8 | No single-dose vials being used for multiple patients | §416.51 | ☐ Yes ☐ No |  |  |
| 9 | Look-alike/sound-alike medications separated or flagged | §416.48 | ☐ Yes ☐ No |  |  |
| 10 | Emergency medications (crash cart) current — not expired | §416.48 | ☐ Yes ☐ No |  |  |
| 11 | Medication storage areas locked when unattended | §416.48 | ☐ Yes ☐ No |  |  |
| 12 | Medication waste (non-controlled) per policy | §416.48 | ☐ Yes ☐ No |  |  |
| 13 | Anesthesia cart medications organized and labeled | §416.48 | ☐ Yes ☐ No |  |  |
| 14 | Sample medications stored and documented per policy (if applicable) | §416.48 | ☐ Yes ☐ No ☐ N/A |  |  |

Common Citation: Multi-dose vials without a “date opened” label are one of the most frequently cited medication deficiencies. Also — single-dose vials used on more than one patient (even from the same vial) is an Immediate Jeopardy finding.

## Section 8: Life Safety & Physical Environment

### 8.1 Fire Safety & Egress

| # | Inspection Point | Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Fire alarm system tested and current (annual inspection report on file) | NFPA 72 | ☐ Yes ☐ No |  |  |
| 2 | Fire sprinkler system inspected (annual report on file) | NFPA 25 | ☐ Yes ☐ No |  |  |
| 3 | Fire extinguishers — current annual inspection and monthly visual check | NFPA 10 | ☐ Yes ☐ No |  |  |
| 4 | Fire drills documented (quarterly minimum) | §416.44 | ☐ Yes ☐ No |  |  |
| 5 | Exit signs illuminated and visible from all corridors | NFPA 101 | ☐ Yes ☐ No |  |  |
| 6 | Emergency lighting functional (test monthly, full test annually) | NFPA 101 | ☐ Yes ☐ No |  |  |
| 7 | Egress paths clear (no storage, no obstructions) | NFPA 101 | ☐ Yes ☐ No |  |  |
| 8 | Fire doors close and latch properly | NFPA 101 | ☐ Yes ☐ No |  |  |
| 9 | Smoke detectors functional (tested per schedule) | NFPA 72 | ☐ Yes ☐ No |  |  |
| 10 | Evacuation plan posted (each floor / department) | NFPA 101 | ☐ Yes ☐ No |  |  |
| 11 | Staff can articulate RACE and PASS procedures | §416.44 | ☐ Yes ☐ No |  |  |
| 12 | No fire hazards observed (overloaded outlets, extension cords as permanent wiring, blocked panels) | NFPA 70 | ☐ Yes ☐ No |  |  |

### 8.2 Emergency Systems

| # | Inspection Point | Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Emergency generator present and functional | §416.44 | ☐ Yes ☐ No |  |  |
| 2 | Generator tested weekly (log current) | NFPA 110 | ☐ Yes ☐ No |  |  |
| 3 | Annual load test completed and documented | NFPA 110 | ☐ Yes ☐ No |  |  |
| 4 | Automatic transfer switch (ATS) functional | NFPA 110 | ☐ Yes ☐ No |  |  |
| 5 | Emergency power outlets identified (red outlets) | NFPA 99 | ☐ Yes ☐ No |  |  |
| 6 | Medical gas system — current annual inspection | NFPA 99 | ☐ Yes ☐ No |  |  |
| 7 | Medical gas zone valves accessible and labeled | NFPA 99 | ☐ Yes ☐ No |  |  |
| 8 | Medical gas alarms functional | NFPA 99 | ☐ Yes ☐ No |  |  |
| 9 | Oxygen storage per code (separation from flammable materials) | NFPA 99 | ☐ Yes ☐ No |  |  |
| 10 | Emergency preparedness plan current (updated annually) | §416.54 | ☐ Yes ☐ No |  |  |
| 11 | Emergency communication plan documented | §416.54 | ☐ Yes ☐ No |  |  |
| 12 | Emergency supply inventory adequate and current | §416.54 | ☐ Yes ☐ No |  |  |

### 8.3 General Environment

| # | Inspection Point | Reference | Compliant? | Score | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | Facility clean overall (floors, walls, ceilings, vents) | §416.44 | ☐ Yes ☐ No |  |  |
| 2 | No water stains, leaks, or moisture damage | §416.44 | ☐ Yes ☐ No |  |  |
| 3 | HVAC system maintained (filter change records, temperature logs) | §416.44 | ☐ Yes ☐ No |  |  |
| 4 | Pest control program in place (contract current) | §416.44 | ☐ Yes ☐ No |  |  |
| 5 | Hazardous materials stored and labeled per SDS / OSHA | OSHA | ☐ Yes ☐ No |  |  |
| 6 | SDS (Safety Data Sheets) accessible to all staff | OSHA | ☐ Yes ☐ No |  |  |
| 7 | Biohazardous waste storage and pickup per regulations | OSHA / State | ☐ Yes ☐ No |  |  |
| 8 | Electrical panels — 36-inch clearance, labeled | NFPA 70 | ☐ Yes ☐ No |  |  |
| 9 | No unapproved space heaters or personal appliances | NFPA | ☐ Yes ☐ No |  |  |
| 10 | Staff restrooms clean and supplied | OSHA | ☐ Yes ☐ No |  |  |
| 11 | Patient restrooms accessible, clean, with call device | ADA / §416.44 | ☐ Yes ☐ No |  |  |

## Section 9: Staff Interview Preparation

Surveyors will interview staff at all levels. They ask questions designed to determine whether staff understand their roles, the facility’s policies, and how to respond to emergencies. Prepare your team with these common questions.

### 9.1 Questions for ALL Clinical Staff

| # | Question | Expected Response Elements | Staff Member Tested | Adequate? |
| --- | --- | --- | --- | --- |
| 1 | “What do you do if there’s a fire?” | RACE: Rescue, Alarm, Contain, Extinguish/Evacuate. PASS: Pull, Aim, Squeeze, Sweep. Know fire alarm pull station location. Know evacuation route. |  | ☐ Yes ☐ No |
| 2 | “Where is the crash cart and how do you activate the emergency response?” | Location, how to call for help, BLS/ACLS role, who leads the code |  | ☐ Yes ☐ No |
| 3 | “What are the steps for surgical site identification?” | Time-out procedure, two patient identifiers, surgical site marking, Universal Protocol |  | ☐ Yes ☐ No |
| 4 | “How do you handle a blood/body fluid exposure?” | Immediate wound care, report to supervisor, incident report, post-exposure prophylaxis process |  | ☐ Yes ☐ No |
| 5 | “What is your hand hygiene policy?” | 5 moments of hand hygiene, soap vs. sanitizer, duration, when gloves are required |  | ☐ Yes ☐ No |
| 6 | “How do you report a patient complaint or grievance?” | Process for receiving, documenting, and escalating complaints; who to contact |  | ☐ Yes ☐ No |
| 7 | “What is your role in infection control?” | Personal responsibilities, reporting infections/exposures, standard precautions |  | ☐ Yes ☐ No |
| 8 | “How do you identify a patient before medication administration?” | Two identifiers (name + DOB), allergy check, right patient-right drug-right dose-right route-right time |  | ☐ Yes ☐ No |
| 9 | “Where is the Safety Data Sheet (SDS) binder and how do you access it?” | Physical location and/or electronic access; what to do for chemical exposure |  | ☐ Yes ☐ No |
| 10 | “What do you do if you suspect a malignant hyperthermia reaction?” | Recognize signs (rising temp, rigidity, tachycardia), call for MH cart, Dantrolene administration protocol, MH hotline number |  | ☐ Yes ☐ No |

### 9.2 Questions for Nursing / Clinical Leadership

| # | Question | Expected Response Elements | Staff Member Tested | Adequate? |
| --- | --- | --- | --- | --- |
| 1 | “Describe your QAPI program and current projects.” | Active projects, data collection method, how improvements are measured, governing body involvement |  | ☐ Yes ☐ No |
| 2 | “How do you monitor infection rates?” | Surveillance methodology, reporting process, benchmarking, corrective actions taken |  | ☐ Yes ☐ No |
| 3 | “What is your process for credentialing a new physician?” | Application, primary source verification, privilege delineation, governing body approval, provisional period |  | ☐ Yes ☐ No |
| 4 | “How do you ensure staff competency?” | Orientation, annual competency assessment, skills validation, continuing education tracking |  | ☐ Yes ☐ No |
| 5 | “Describe your discharge criteria.” | Scoring system used, required vital sign stability, who authorizes discharge, responsible adult requirement, written instructions |  | ☐ Yes ☐ No |

### 9.3 Questions for Administrative / Front Desk Staff

| # | Question | Expected Response Elements | Staff Member Tested | Adequate? |
| --- | --- | --- | --- | --- |
| 1 | “How do you protect patient privacy?” | HIPAA basics, sign-in sheet protection, phone conversation discretion, who can access records |  | ☐ Yes ☐ No |
| 2 | “What do you do if a patient presents with a complaint about their care?” | Listen, document, escalate to clinical leadership, provide grievance form if requested |  | ☐ Yes ☐ No |
| 3 | “What is your role during a fire alarm?” | Know evacuation responsibilities, assist patients if trained, know exit routes, assembly point |  | ☐ Yes ☐ No |
| 4 | “How do you verify patient identity at check-in?” | Photo ID, two identifiers, insurance verification process |  | ☐ Yes ☐ No |

### 9.4 Interview Coaching Tips for Small Teams

- Don’t memorize scripts — surveyors can tell. Understand the why behind each policy

- It’s OK to say “I’d look it up in our policy manual” — surveyors want to know you know WHERE to find the answer

- Never say “I don’t know” and leave it there — always add what you WOULD do (“I would contact my supervisor” or “I would reference our emergency protocol binder”)

- Be honest — if you haven’t done a fire drill this quarter, don’t lie. It’s worse to be caught in a false statement

- Show your documentation — if a surveyor asks about infection control, walk them to your IC binder. Physical demonstration builds confidence

- Every staff member matters — housekeeping, front desk, and clinical staff are all fair game for interviews

## Section 10: Mock Survey Summary Report

### Facility Information

| Field | Details |
| --- | --- |
| Facility Name |  |
| Survey Date |  |
| Surveyor(s) |  |
| Areas Inspected |  |
| Survey Duration |  |

### Overall Scoring Summary

| Section | Total Items | ✅ Compliant | ⚠️ Partial | ❌ Non-Compliant | 🔴 Imm. Jeopardy | Compliance Rate |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Documentation Review |  |  |  |  |  | % |
| 2. Entrance & Reception |  |  |  |  |  | % |
| 3. Pre-Op Area |  |  |  |  |  | % |
| 4. Operating Room(s) |  |  |  |  |  | % |
| 5. Sterile Processing |  |  |  |  |  | % |
| 6. PACU / Recovery |  |  |  |  |  | % |
| 7. Medication Storage |  |  |  |  |  | % |
| 8. Life Safety & Environment |  |  |  |  |  | % |
| 9. Staff Interviews |  |  |  |  |  | % |
| TOTAL |  |  |  |  |  | % |

### Findings Requiring Immediate Action (🔴 and ❌)

| Finding # | Section | Description | CMS Reference | Severity | Corrective Action | Responsible Party | Due Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | ☐ 🔴 ☐ ❌ |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 2 |  |  |  | ☐ 🔴 ☐ ❌ |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 3 |  |  |  | ☐ 🔴 ☐ ❌ |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 4 |  |  |  | ☐ 🔴 ☐ ❌ |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 5 |  |  |  | ☐ 🔴 ☐ ❌ |  |  |  | ☐ Open ☐ In Progress ☐ Closed |

### Findings Requiring Follow-Up (⚠️)

| Finding # | Section | Description | CMS Reference | Corrective Action | Responsible Party | Due Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 2 |  |  |  |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 3 |  |  |  |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 4 |  |  |  |  |  |  | ☐ Open ☐ In Progress ☐ Closed |
| 5 |  |  |  |  |  |  | ☐ Open ☐ In Progress ☐ Closed |

### Top 10 Deficiency Areas in ASC Surveys (National Data)

Use this list to prioritize your preparation. These are the most commonly cited deficiencies across ASC surveys nationally:

| Rank | Deficiency Area | CMS Tag | What Surveyors Find |
| --- | --- | --- | --- |
| 1 | Credentialing & Privileging | §416.45 | Incomplete provider files, missing NPDB queries, expired licenses |
| 2 | Infection Control — Sterile Processing | §416.51 | Break in sterile technique, missing BI logs, IFU not followed |
| 3 | Pharmaceutical Services | §416.48 | Expired medications, multi-dose vials undated, controlled substance documentation gaps |
| 4 | Medical Records | §416.47 | Incomplete operative reports, missing H&P updates, unsigned orders |
| 5 | Patient Rights | §416.50 | Informed consent incomplete, advance directive policy not implemented, grievance process unclear |
| 6 | QAPI Program | §416.43 | No active performance improvement projects, data not collected, governing body not involved |
| 7 | Environment of Care | §416.44 | Fire drill gaps, generator testing gaps, equipment PM overdue |
| 8 | Surgical Services | §416.42 | Time-out not documented, H&P not within 30 days, discharge criteria not met |
| 9 | Governing Body | §416.41 | Transfer agreement expired, meeting minutes incomplete, bylaws outdated |
| 10 | Emergency Preparedness | §416.54 | Plan not updated annually, drill not conducted, communication plan missing |

### Next Mock Survey Scheduled: ________________

Recommended Frequency: Conduct a full mock survey quarterly. Conduct focused mini-mocks monthly on your weakest areas.

## Document Version Control

| Version | Date | Author | Changes |
| --- | --- | --- | --- |
| 1.0 | Initial Release | ASC Compliance Team | Original mock survey document |

This document is part of the ASC Compliance Manual — Tier 1: Essential Compliance Package ($97). For the complete system including staff training matrices, policy templates, and quarterly update frameworks, upgrade to Tier 2: Complete Certification System ($197).